2020 Consumer Confidence Report for Public Water System CITY OF WEST

| This is your water quality report for January 1 to December 31, 2020 |  | For more information regarding this report contact: |
| --- | --- | --- |
| CITY OF WEST provides purchased surface water and ground water. Surface water from the City of Waco located in Waco, Texas, McLennan County and groundwater from Trinity Aquifer located in McLennan County. from |  | C.J. Gillaspie – City of West Public Works Director – (254) 366-1503 |

Este reporte incluye información importante sobre el agua para tomar.  Para asistencia en español, favor de llamar al telefono (254) 366-1503.

Public Participation Opportunities

The West City Council meetings are held at 6:00 p.m. on the 1st Tuesday of the month at the West Community Center, 205 W. Tokio Road, West, Texas.

Information about your Drinking Water

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPAs Safe Drinking Water Hotline at (800) 426-4791.

Contaminants that may be present in source water include:

-   Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

-   Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

-   Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.

-   Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.

-   Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Contaminants may be found in drinking water that may cause taste, color, or odor problems.  These types of problems are not necessarily causes for health concerns.  For more information on taste, odor, or color of drinking water, please contact the system's business office.

You may be more vulnerable than the general population to certain microbial contaminants, such as Cryptosporidium, in drinking water.  Infants, some elderly, or immunocompromised persons such as those undergoing chemotherapy for cancer; persons who have undergone organ transplants; those who are undergoing treatment with steroids; and people with HIV/AIDS or other immune system disorders, can be particularly at risk from infections. You should seek advice about drinking water from your physician or health care providers.  Additional guidelines on appropriate means to lessen the risk of infection by Cryptosporidium are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. We are responsible for providing high quality drinking water, but we cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

Source Water Name				Location			Type of Water			Report Status

City of West #6 Trinity Aquifer			Haven Street			GW				Active

City of West #7 Trinity Aquifer			100 Grady Calvary		GW				Active

Treated Surface Water from the City of Waco	CC from TX1550008		SW				Active

Information about Source Water

CITY OF WEST purchases water from CITY OF WACO. CITY OF WACO provides purchased surface water from Waco, McLennan County, Texas.

TCEQ completed an assessment of your source water, and results indicate that some of our sources are susceptible to certain contaminants. The sampling requirements for your water system is based on this susceptibility and previous sample data. Any detections of these contaminants will be found in this Consumer Confidence Report. For more information on source water assessments and protection efforts at our system contact C.J. Gillaspie at  (254) 366-1503.

| Lead and Copper | Date Sampled | MCLG | Action Level (AL) | 90th Percentile | # Sites Over AL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Copper | 2020 | 1.3 | 1.3 | 0.121 | 0 | ppm | N | Erosion of natural deposits; Leaching from wood preservatives; Corrosion of household plumbing systems. |

2020 Water Quality Test Results-City of West

| 2020Disinfection By-Products | Collection Date | Highest Level Detected | Range of Individual Samples | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Haloacetic Acids (HAA5) | 2020 | 42 | 0 - 124 | No goal for the total | 60 | ppb | N | By-product of drinking water disinfection. |

*The value in the Highest Level or Average Detected column is the highest average of all HAA5 sample results collected at a location over a year

| Total Trihalomethanes (TTHM) | 2020 | 83 | 2.6 - 176 | No goal for the total | 80 | ppb | Y | By-product of drinking water disinfection. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

*The value in the Highest Level or Average Detected column is the highest average of all TTHM sample results collected at a location over a year

| 2Inorganic Contaminants | Collection Date | Highest Level Detected | Range of Individual Samples | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Arsenic | 2020 | 2.6 | 2.6 - 2.6 | 0 | 10 | ppb | N | Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes. |
| Barium | 2020 | 0.0788 | 0.0788 - 0.0788 | 2 | 2 | ppm | N | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits. |
| Fluoride | 2020 | 0.96 | 0.96 - 0.96 | 4 | 4.0 | ppm | N | Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories. |
| Nitrate [measured as Nitrogen] | 2020 | 0.31 | 0 - 0.31 | 10 | 10 | ppm | N | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits. |
| Selenium | 2020 | 4.6 | 4.6 - 4.6 | 50 | 50 | ppb | N | Discharge from petroleum and metal refineries; Erosion of natural deposits; Discharge from mines. |

| 2Synthetic organic contaminants including pesticides and herbicides | Collection Date | Highest Level Detected | Range of Individual Samples | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dalapon | 2020 | 4.5 | 0 - 4.5 | 200 | 200 | ppb | N | Runoff from herbicide used on rights of way. |

Disinfectant Residual

| Disinfectant Residual | Year | Average Level | Range of Levels Detected | MRDL | MRDLG | Unit of Measure | Violation (Y/N) | Source in Drinking Water |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chloramines Total | 2020 | 1.89 | 1.40 – 2.36 | 4 | 4 | Mg/L | N | Water additive used to control microbes. |

Violations

| 1,1,1-Trichloroethane |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing 1,1,1-trichloroethane in excess of the MCL over many years could experience problems with their liver, nervous system, or circulatory system. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| 1,1,2-Trichloroethane |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing 1,1,2-trichloroethane well in excess of the MCL over many years could have problems with their liver, kidneys, or immune systems. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| 1,1-Dichloroethylene |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing 1,1-dichloroethylene in excess of the MCL over many years could experience problems with their liver. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| 1,2,4-Trichlorobenzene |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing 1,2,4-trichlorobenzene well in excess of the MCL over many years could experience changes in their adrenal glands. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| 1,2-Dichloroethane |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing 1,2-dichloroethane in excess of the MCL over many years may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| 1,2-Dichloropropane |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing 1,2-dichloropropane in excess of the MCL over many years may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| 2,4,5-TP (Silvex) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing silvex in excess of the MCL over many years could experience liver problems. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| 2,4-D |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing the weed killer 2,4-D well in excess of the MCL over many years could experience problems with their kidneys, liver, or adrenal glands. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Alachlor |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing alachlor in excess of the MCL over many years could have problems with their eyes, liver, kidneys, or spleen, or experience anemia, and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Atrazine |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing atrazine well in excess of the MCL over many years could experience problems with their cardiovascular system or reproductive difficulties. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Benzene |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing benzene in excess of the MCL over many years could experience anemia or a decrease in blood platelets, and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Benzo(a)pyrene |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing benzo(a)pyrene in excess of the MCL over many years may experience reproductive difficulties and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Carbofuran |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing carbofuran in excess of the MCL over many years could experience problems with their blood, or nervous or reproductive systems. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Carbon Tetrachloride |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing carbon tetrachloride in excess of the MCL over many years could experience problems with their liver and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Chlordane |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing chlordane in excess of the MCL over many years could experience problems with their liver or nervous system, and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Chlorobenzene |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing chlorobenzene in excess of the MCL over many years could experience problems with their liver or kidneys. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Dalapon |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing dalapon well in excess of the MCL over many years could experience minor kidney changes. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Di (2-ethylhexyl) adipate |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing di (2-ethylhexyl) adipate well in excess of the MCL over many years could experience general toxic effects or reproductive difficulties. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |
| Di (2-ethylhexyl) phthalate |  |  |  |  |  |
| Some people who drink water containing di (2-ethylhexyl) phthalate in excess of the MCL over many years may have problems with their liver, or experience reproductive difficulties, and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Dibromochloropropane (DBCP) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing DBCP in excess of the MCL over many years could experience reproductive difficulties and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Dichloromethane |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing dichloromethane in excess of the MCL over many years could have liver problems and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Dinoseb |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing dinoseb well in excess of the MCL over many years could experience reproductive difficulties. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Endrin |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing endrin in excess of the MCL over many years could experience liver problems. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Ethylbenzene |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing ethylbenzene well in excess of the MCL over many years could experience problems with their liver or kidneys. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Ethylene dibromide |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing ethylene dibromide in excess of the MCL over many years could experience problems with their liver, stomach, reproductive system, or kidneys, and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Heptachlor |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing heptachlor in excess of the MCL over many years could experience liver damage and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Heptachlor epoxide |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing heptachlor epoxide in excess of the MCL over many years could experience liver damage, and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |
| Hexachlorobenzene |  |  |  |  |  |
| Some people who drink water containing hexachlorobenzene in excess of the MCL over many years could experience problems with their liver or kidneys, or adverse reproductive effects, and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Hexachlorocyclopentadiene |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing hexachlorocyclopentadiene well in excess of the MCL over many years could experience problems with their kidneys or stomach. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Lead and Copper Rule |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| The Lead and Copper Rule protects public health by minimizing lead and copper levels in drinking water, primarily by reducing water corrosivity. Lead and copper enter drinking water mainly from corrosion of lead and copper containing plumbing materials. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| LEAD CONSUMER NOTICE (LCR) | 12/30/2019 |  | 10/09/2020 |  | We failed to provide the results of lead tap water monitoring to the consumers at the location water was tested. These were supposed to be provided no later than 30 days after learning the results. |
| WATER QUALITY PARAMETER M/R (LCR) | 07/01/2020 |  | 12/31/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Lindane |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing lindane in excess of the MCL over many years could experience problems with their kidneys or liver. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |
| Methoxychlor |  |  |  |  |  |
| Some people who drink water containing methoxychlor in excess of the MCL over many years could experience reproductive difficulties. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Oxamyl [Vydate] |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing oxamyl in excess of the MCL over many years could experience slight nervous system effects. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Pentachlorophenol |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing pentachlorophenol in excess of the MCL over many years could experience problems with their liver or kidneys, and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Picloram |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing picloram in excess of the MCL over many years could experience problems with their liver. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Simazine |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing simazine in excess of the MCL over many years could experience problems with their blood. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Styrene |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing styrene well in excess of the MCL over many years could have problems with their liver, kidneys, or circulatory system. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Tetrachloroethylene |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing tetrachloroethylene in excess of the MCL over many years could have problems with their liver, and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Toluene |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing toluene well in excess of the MCL over many years could have problems with their nervous system, kidneys, or liver. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Total Trihalomethanes (TTHM) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing trihalomethanes in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous systems, and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| FAILURE SUBMIT OEL REPORT FOR TTHM | 06/30/2020 |  | 2020 |  | We failed to submit our operational evaluation level (OEL) report to our regulator. The report is needed to determine best treatment practices necessary to minimize possible future exceedences of TTHM. |
| MCL, LRAA | 01/01/2020 |  | 03/31/2020 |  | Water samples showed that the amount of this contaminant in our drinking water was above its standard (called a maximum contaminant level and abbreviated MCL) for the period indicated. |
| Toxaphene |  |  |  |  |  |
| Some people who drink water containing toxaphene in excess of the MCL over many years could have problems with their kidneys, liver, or thyroid, and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Trichloroethylene |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing trichloroethylene in excess of the MCL over many years could experience problems with their liver and may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Vinyl Chloride |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing vinyl chloride in excess of the MCL over many years may have an increased risk of getting cancer. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Xylenes |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing xylenes in excess of the MCL over many years could experience damage to their nervous system. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| cis-1,2-Dichloroethylene |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing cis-1,2-dichloroethylene in excess of the MCL over many years could experience problems with their liver. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| o-Dichlorobenzene |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing o-dichlorobenzene well in excess of the MCL over many years could experience problems with their liver, kidneys, or circulatory systems. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| p-Dichlorobenzene |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing p-dichlorobenzene in excess of the MCL over many years could experience anemia, damage to their liver, kidneys, or spleen, or changes in their blood. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| trans-1,2-Dicholoroethylene |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Some people who drink water containing trans-1,2-dichloroethylene well in excess of the MCL over many years could experience problems with their liver. |  |  |  |  |  |
| Violation Type | Violation Begin |  | Violation End |  | Violation Explanation |
| MONITORING, ROUTINE MAJOR | 04/01/2020 |  | 06/30/2020 |  | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

2020 Water Quality Test Results – City of Waco

Coliform Bacteria

| Maximum Contaminant Level Goal | Total Coliform Maximum Contaminant Level | Highest No. of Positive | Fecal Coliform or E. Coli Maximum Contaminant Level | Total No. of Positive E. Coli or Fecal Coliform Samples | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- |
| 0 | 5% of monthly samples are positive. | 3.1 |  | 0 | N | Naturally present in the environment. |

| Lead and Copper | Date Sampled | MCLG | Action Level (AL) | 90th Percentile | # Sites Over AL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Copper | 12/18/2018 | 1.3 | 1.3 | 0.14 | 0 | ppm | N | Erosion of natural deposits; Leaching from wood preservatives; Corrosion of household plumbing systems. |
| Lead | 12/18/2018 | 0 | 15 | 2.4 | 2 | ppb | N | Corrosion of household plumbing systems; Erosion of natural deposits. |

2020

| Disinfection By-Products | Collection Date | Highest Level Detected | Range of Individual Samples | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bromate | 2020 | 2 | 0 - 9.94 | 0 | 10 | ppb | N | By-product of drinking water disinfection. |
| Haloacetic Acids (HAA5) | 2020 | 21 | 9.3 - 21 | No goal for the total | 60 | ppb | N | By-product of drinking water disinfection. |

*The value in the Highest Level or Average Detected column is the highest average of all HAA5 sample results collected at a location over a year

| Total Trihalomethanes (TTHM) | 2020 | 57 | 29.7 - 65.4 | No goal for the total | 80 | ppb | N | By-product of drinking water disinfection. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

*The value in the Highest Level or Average Detected column is the highest average of all TTHM sample results collected at a location over a year

2

| Inorganic Contaminants | Collection Date | Highest Level Detected | Range of Individual Samples | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Arsenic | 2020 | 2 | 0 - 2.1 | 0 | 10 | ppb | N | Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes. |
| Barium | 2020 | 0.0675 | 0.0436 - 0.0675 | 2 | 2 | ppm | N | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits. |
| Cyanide | 2020 | 180 | 0 - 180 | 200 | 200 | ppb | N | Discharge from plastic and fertilizer factories; Discharge from steel/metal factories. |
| Fluoride | 2020 | 0.7 | 0.73 - 0.99 | 4 | 4.0 | ppm | N | Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories. |
| Nitrate [measured as Nitrogen] | 2020 | 0.24 | 0 - 0.24 | 10 | 10 | ppm | N | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits. |

2020

| Radioactive Contaminants | Collection Date | Highest Level Detected | Range of Individual Samples | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Combined Radium 226/228 | 01/12/2017 | 1.5 | 1.5 - 1.5 | 0 | 5 | pCi/L | N | Erosion of natural deposits. |

2020

| Synthetic organic contaminants including pesticides and herbicides | Collection Date | Highest Level Detected | Range of Individual Samples | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Atrazine | 2020 | 0.2 | 0 - 0.2 | 3 | 3 | ppb | N | Runoff from herbicide used on row crops. |

Turbidity

|  | Level Detected | Limit (Treatment Technique) | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- |
| Highest single measurement | 0.19 NTU | 1 NTU | N | Soil runoff. |
| Lowest monthly % meeting limit | 100% | 0.3 NTU | N | Soil runoff. |

Information Statement:  Turbidity is a measurement of the cloudiness of the water caused by suspended particles.  We monitor it because it is a good indicator of water quality and the effectiveness of our filtration system and disinfectants.

Total Organic Carbon

The percentage of Total Organic Carbon (TOC) removal was measured each month and the system met all TOC removal requirements set, unless a TOC violation is noted in the violations section.

Definitions and Abbreviations

| Definitions and Abbreviations |  | The following tables contain scientific terms and measures, some of which may require explanation. |
| --- | --- | --- |
| Action Level: |  | The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow. |
| Avg: |  | Regulatory compliance with some MCLs are based on running annual average of monthly samples. |
| Level 1 Assessment: |  | A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system. |
| Level 2 Assessment: |  | A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions. |
| Maximum Contaminant Level or MCL: |  | The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology. |
| Maximum Contaminant Level Goal or MCLG: |  | The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety. |
| Maximum residual disinfectant level or MRDL: |  | The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. |
| Maximum residual disinfectant level goal or MRDLG: |  | The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. |
| MFL |  | million fibers per liter (a measure of asbestos) |
| mrem: |  | millirems per year (a measure of radiation absorbed by the body) |
| na: |  | not applicable. |
| NTU |  | nephelometric turbidity units (a measure of turbidity) |
| pCi/L |  | picocuries per liter (a measure of radioactivity) |

| ppb: |  | micrograms per liter or parts per billion |
| --- | --- | --- |
| ppm: |  | milligrams per liter or parts per million |
| ppq |  | parts per quadrillion, or picograms per liter (pg/L) |
| ppt |  | parts per trillion, or nanograms per liter (ng/L) |
| Treatment Technique or TT: |  | A required process intended to reduce the level of a contaminant in drinking water. |